## Slide 1: Advancing Breast Models Through Improved Tumor Complexity for AI-Based Cancer Detection
23-10-2025
Tim Diepstraten
MSc Externship Project at the Early Warning Scan

## Slide 2: Introduction
2.3 million annual cases of breast cancer
Leading cause of cancer-related death among women
Lack of early symptoms
     Late disease detection
Solution:
Better early screening methods
National Breast Cancer Foundation (Australia)
Breast Cancer in Australia

## Slide 3: Mammography
Standard for breast cancer screening
inviTRA
Notes: One fifth of breast cancer patients in the Netherlands are under 40 (~3000 women annually)

## Slide 4: Shortcomings of Mammography
Radiation Exposure
Discomfort
Cost
Dense vs fatty tissue
    High false positives/negatives
    No screening for women under 50
We need to do better!
VeryWell Health
Notes: In the Netherlands, 30% of women do not partake in screening.

## Slide 5: The Early Warning Scan
Dutch startup company
New approach to breast cancer screening
Image acquisition
    52 cameras

## Slide 6: The Early Warning Scan
Dutch startup company
New approach to breast cancer screening
Image acquisition
    52 cameras

## Slide 7: The Early Warning Scan
Dutch startup company
New approach to breast cancer screening
Image acquisition
    52 cameras
    Photogrammetry

## Slide 8: The Early Warning Scan
Dutch startup company
New approach to breast cancer screening
Image acquisition
Dynamic 3d Model
    Breast movement is tracked at 340 locations

## Slide 9: The Early Warning Scan
Dutch startup company
New approach to breast cancer screening
Image acquisition
Dynamic 3d Model
Data extraction
    Frequency decomposition

## Slide 10: The Early Warning Scan
Dutch startup company
New approach to breast cancer screening
Image acquisition
Dynamic 3d Model
Data extraction
    Frequency decomposition

## Slide 11: The Early Warning Scan
Dutch startup company
New approach to breast cancer screening
Image acquisition
Dynamic 3d Model
Data extraction
AI-powered risk assessment

## Slide 12: The Early Warning Scan
Advantages over mammography:
    Painless
    No X-rays
    Low-cost
    Effective on dense tissue

## Slide 13: Current Challenges
Acquisition of training data for AI
  Develop software to produce breast models
    FEM modeling
    Incremental process
  My project:
  Improve model generation by incorporating tumors with variable characteristics

## Slide 14: Introducing The Breast Model
Defining breast area
Rotation around y-axis

## Slide 15: Introducing The Breast Model
Mesh generation  Gmsh software
Simulation  FEBio software
Individual material properties
≈16k nodes
≈14k elements
Glandular (30%)
Adipose (70%)
Skin

## Slide 16: Procedural Tumor Generation
Parameters determine growth behavior of spheres
No separate mesh
Modification of material properties
    5x stiffer compared to non-tumorous

## Slide 17: Testing Methodology
Breast diameter: 14cm
Tumor placed at (35mm, 40mm, 0mm)
Gravity and initial displacement

## Slide 18: Results: Tumor Size
Spherical Tumors: 5mm, 10mm, 20mm, 30mm

## Slide 19: Results: Tumor Size
Increased tumor size  larger deformation
= highly dependent on location

## Slide 20: Results: Tumor Morphology
Tumor volume ≈ 4.1 cm3 (within 5%)
*Brook K. Byrd1, *Venkataramanan Krishnaswamy2, *Timothy B. Rooney3, *Rebecca A. Zuurbier3, Richard J. Barth Jr.4
1Thayer School of Engineering, Dartmouth College, Hanover, NH;2CairnSurgical, Inc., Lebanon, NH;3Department of Radiology, Dartmouth-Hitchcock Medical Center, Lebanon, NH;4Department of Surgery, Dartmouth-Hitchcock Medical Center, Lebanon, NH

## Slide 21: Results: Tumor Morphology
Tumor morphology affects deformation
= highly dependent on location
*Brook K. Byrd1, *Venkataramanan Krishnaswamy2, *Timothy B. Rooney3, *Rebecca A. Zuurbier3, Richard J. Barth Jr.4
1Thayer School of Engineering, Dartmouth College, Hanover, NH;2CairnSurgical, Inc., Lebanon, NH;3Department of Radiology, Dartmouth-Hitchcock Medical Center, Lebanon, NH;4Department of Surgery, Dartmouth-Hitchcock Medical Center, Lebanon, NH

## Slide 22: Results: Breast Density
Dense Breast
Regular Breast
Glandular (80%)
Glandular (30%)
Adipose (70%)
Adipose (20%)
Spherical Tumors: 5mm, 10mm, 20mm, 30mm
5mm: greater displacement in dense model

## Slide 23: Discussion and Future Improvements
Only small step in much larger process
Work in progress:
    Tissue heterogeneity
    Real breast data acquisition  improve model
  "Small steps taken consistently create the biggest journeys."

## Slide 24: Acknowledgement
Early Warning Scan & YvYa Foundation
    Tom Sanders
    Patrick Peffer
    Silvia Schouten
Coen Hurkmans
Ryan Engels
Sioux
Nicholas Kurniawan

## Slide 25: Conclusion
Increased tumor size  larger deformation difference vs control
    Highly dependent on location
Tumor morphology affects deformation
    Highly dependent on location
Small tumors: deformation vs control enhanced in dense breast model

## Slide 26
z
x
N1
N2
N3
N6
N7
N4
N5
N8
N9
Tumor